## Slide 2: An Introduction to ACS Cold Plate Focus Areas Jessica Gullbrand, Cold Plate Work Stream Lead, Intel
Advanced Cooling Solutions

## Slide 3: Outline
Objective
Status
ACS Cold Plate Requirements
Process
Document
Requirements Checklist
ACS ORV3 Blind Mate Liquid Cooling
Objective
Status
Summary
ADVANCED COOLING SOLUTIONS

## Slide 4: Objective
Cold Plate Work Stream Objective
Generate an open specification and supporting documents focusing on standardization and definitions of liquid cooled solutions and interfaces without preventing innovation

## Slide 5: Status
ACS Cold Plate Ongoing Focus Areas
Liquid Cooling Cold Plate Requirements – approved
Open Rack V3 Blind Mate Liquid Cooling – initiated
Harmonization
ACS work streams – Cold Plate, Door Heat Exchanger, Immersion
Rack Manifold Design - Rack & Power Project
Liquid Cooling Solution - Data Center Facility Project
OCP Member Contributions in the works
Universal Quick Disconnects
Wetted Materials & Cooling PG Liquids
Liquid Cooling Installation Learnings

## Slide 6: ACS Cold Plate Requirements
Technology Cooling System (TCS) fluid loop
Loop from CDU through rack manifold to IT equipment and back
    Provide information, classification, and minimal requirement for OCP liquid cooled solutions
    Authors:
            Jessica Gullbrand, Intel
        Nigel Gore & Jason Matteson, Iceotope
        Elizabeth Langer, CPC – Colder Products Company
        + incorporated feedback from cold plate work stream community
https://www.opencompute.org/documents/ocp-acs-liquid-cooling-cold-plate-requirements-pdf

## Slide 7: ACS Cold Plate Requirement - Process
TCS liquid cooling design specifications need to
adhere to the cold plate requirements
Process to determine compliancy
Cold Plate Requirement Checklist
Peer-reviewed by subject matter experts
When contribution meets the requirements 
proposed for approval by Incubation Committee
Incubation
Committee

## Slide 8: ACS Cold Plate Requirements
Document Outline
Definitions
Component Selection & Parameters of Interest
Liquid Cooling Requirements
- Sensor Requirements
- Liquid Cooling Classification IT Equipment & Rack
- Leak Detection & Intervention Classification
Comparison Metrics

## Slide 9: ACS Cold Plate TCS Components
Component Selection and Parameters of Importance:
Cooling Liquid
    - Liquids
  - Wetted Materials
  - Filtering
  - Commissioning and Maintenance
  - Environmental Considerations
Cold Plates
Coolant Distribution Unit
  Rack Manifold
Quick Disconnect Couplings
Pumps

## Slide 10: ACS Cold Plate Requirement
Liquid Cooling Requirement
Certification Compliancy
          - UL/FCC/CE etc
  Pressure Safety Requirements
  - IEC standards
  - ASME
  Risk Management
  - Considerations, plans, and management

## Slide 11: ACS Cold Plate Requirement
Liquid Cooling Requirement
Sensor Requirements
- Sensors to be considered within the system, chassis, rack, and CDU
      - Minimum requirement:
                - Tier 2 as defined by ASHRAE DCIM
                - Advanced requirement:
- Tier 3 as defined by ASHRAE DCIM
DMTF Redfish
- Use the same IT telemetry that was adopted by DMTF Redfish in partnership
with ASHRAE TC9.9
Notes: DCIM = Data Center Infrastructure Management

## Slide 12: ACS Cold Plate Requirement
Liquid Cooling Requirements
Liquid Cooling Classifications
IT Equipment
Hybrid Basic - CPU/GPU cold plates
Hybrid Intermediate – Basic + DIMMs cold plates
Hybrid Advanced – Intermediate + additional cold plates
Full Liquid – Completely liquid cooled
Rack
• Liquid cooled ready rack without door heat exchanger
• Liquid cooled ready rack with door heat exchanger
Hybrid Basic

## Slide 13: ACS Cold Plate Requirement
Liquid Cooling Requirements
Leakage Detection
Indirect: using existing pressure, flow rate, and temp sensors
Direct: using leak rope/cable detection sensors
Leakage Intervention
Manual: using manual intervention
Automatic: using automatic intervention

## Slide 14: ACS Cold Plate Requirement
Comparison Metrics
Solution foot print
Solution density
Solution power
CDU option
Manifold location
Cooling liquid type
Cooling classification
Leak detection & intervention classification

## Slide 15: ACS Cold Plate Requirement
Requirements Checklist – One Chapter Example
https://docs.google.com/spreadsheets/d/19LPCx5KRiFVMzvGwSadxjgW_nL4MJ4G0l_6WbN9vZy4/edit?usp=sharing

## Slide 16: ACS ORV3 Blind Mate Liquid Cooling
Objective
Develop the interface specifications to standardize the form, fit, and function of the blind mate dripless quick connectors and manifolds so that they can interoperate between different suppliers for Open Rack V3

## Slide 17: ACS ORV3 Blind Mate Liquid Cooling
Status
Kick-off meeting held Jan 2020
Areas of Focus:
    Manifold Specification
    Blind Mate Quick Connector Specification
    Manual Couplings and Hoses Best Practices
    Frame/IT Equipment Interfaces
    System Level & Logistics Best Practices

## Slide 18: ACS Cold Plate Summary
ACS Cold Plate Focus Areas
Cold Plate Requirements Document – approved
ORV3 Blind Mate Liquid Cooling – initiated
    Next Focus Area
    Leakage Detection and Intervention

## Slide 19: Call to Action
How to get involved!
Join the Mailing Lists:
Advanced Cooling Solutions: https://ocp-all.groups.io/g/OCP-ACS
Cold Plate Work Stream: https://ocp-all.groups.io/g/OCP-ACS-Cold-Plate
Project Wiki:
https://www.opencompute.org/projects/acs-cold-plate-sub-project
https://www.opencompute.org/wiki/Rack_%26_Power/Advanced_Cooling_Solutions
Call Calendar:
Meeting every 2nd Wednesday of the Month at 8 am (PST)
https://www.opencompute.org/projects/rack-and-power
ADVANCED COOLING SOLUTIONS